# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

HYBRID AND SOLAR INVERTERS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 1 | DPGA1200 |  | • 1.2 kW • 12 V • Pure sine wave output |  |  |
| 2 | DPGA3624 |  | • 3.6 kW • 24 V • Pure sine wave output |  |  |
| 3 | DPGA6248 |  | • 6.5 kW • 48 V • Pure sine wave output |  |  |
| 4 | DPGA12000 |  | • 12 kW • 48 V • Pure sine wave output |  |  |
| 5 | DPGA6248B |  | • 6.5 kW • 48 V • parallel • Pure sine wave output |  |  |
| 6 | DP1512 |  | • 1.2 kW • 12 V • Pure sine wave output |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

HYBRID AND SOLAR INVERTERS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 7 | DP2024 |  | • 1.6 kW • 24 V • Pure sine wave output |  |  |
| 8 | DPED3024EMH |  | • 3 kW • 24 V • Pure sine wave output |  |  |
| 9 | DPED6248EMH |  | • 6.2 kW • 48 V • Pure sine wave output |  |  |
| 10 | DPED11048EMH |  | • 11 kW • 48 V • Pure sine wave output |  |  |
| 11 | DPT3624SMH |  | • 3.6 kW • 24 V • touchscreen • Pure sine wave output |  |  |
| 12 | DPT6248SMH |  | • 6.2 kW • 48 V • touchscreen • Pure sine wave output |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

HYBRID AND SOLAR INVERTERS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 13 | DPT11048SMH |  | • 11 kW • 48 V • touchscreen • Pure sine wave output |  |  |
| 14 | DPED11048EMHB |  | • 11 kW • 48 V • parallel • Pure sine wave output • Specification to confirm |  |  |
| 15 | DPGD4500 |  | • 4.5 kW • 24 V • Pure sine wave output |  |  |
| 16 | DPGD6500 |  | • 6.5 kW • 48 V • Pure sine wave output |  |  |
| 17 | DPGD11100 |  | • 11 kW • 48 V • Pure sine wave output • Specification to confirm |  |  |
| 18 | DPECO-3K12V-HV |  | • 3 kW • 12 V • 230 V AC • Pure sine wave output |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

HYBRID AND SOLAR INVERTERS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 19 | DPECO-4.5K24V-HV |  | • 4.5 kW • 24 V • 230 V AC • Pure sine wave output |  |  |
| 20 | DPECO-5.5K48V-HV |  | • 5.5 kW • 48 V • 230 V AC • Pure sine wave output • Specification to confirm |  |  |
| 21 | DPECO-6.5K48V-HV |  | • 6.5 kW • 48 V • 230 V AC • Pure sine wave output |  |  |
| 22 | DPECO-4K24V-LV |  | • 4 kW • 24 V • 120 V AC • Pure sine wave output |  |  |
| 23 | DPUPS50112/24 |  | • 0.5 kW • 12 V • Pure sine wave output • Specification to confirm |  |  |
| 24 | DPUPS10224/48 |  | • 1 kW • 24/48 V • Pure sine wave output |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

HYBRID AND SOLAR INVERTERS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 25 | DPUPS30224/48 |  | • 3 kW • 24/48 V • Pure sine wave output |  |  |
| 26 | DPUPS50248 |  | • 5 kW • 48 V • Pure sine wave output |  |  |
| 27 | DPUPS80248 |  | • 8 kW • 48 V • Pure sine wave output |  |  |
| 28 | DPSH-6.2K-48V-EU |  | • 6.2 kW • 48 V • IP54 • Pure sine wave output |  |  |
| 29 | DPSH-12K-48V-EU |  | • 12 kW • 48 V • IP54 • Pure sine wave output |  |  |
| 30 | DPW48P1-3kW |  | • 3 kW • 48 V • single-phase • IP66 • Pure sine wave output |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

HYBRID AND SOLAR INVERTERS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 31 | DPW48P1-4kW |  | • 4 kW • 48 V • single-phase • IP66 • Pure sine wave output |  |  |
| 32 | DPW48P1-5kW |  | • 5 kW • 48 V • single-phase • IP66 • Pure sine wave output |  |  |
| 33 | DPW48P1-6kW |  | • 6 kW • 48 V • single-phase • IP66 • Pure sine wave output |  |  |
| 34 | DPW48P1-8kW |  | • 8 kW • 48 V • single-phase • IP66 • Pure sine wave output |  |  |
| 35 | DPW48P3-8kW |  | • 8 kW • 48 V • three-phase • IP66 • Pure sine wave output |  |  |
| 36 | DPW48P3-10kW |  | • 10 kW • 48 V • three-phase • IP66 • Pure sine wave output |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

HYBRID AND SOLAR INVERTERS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 37 | DPW48P3-12kW |  | • 12 kW • 48 V • three-phase • IP66 • Pure sine wave output • Specification to confirm |  |  |
| 38 | DPW48P3-15kW |  | • 15 kW • 48 V • three-phase • IP66 • Pure sine wave output |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

ALL IN ONE SOLAR SYSTEMS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 39 | DPMES300-1000WH |  | • 300 W inverter + 1 kWh battery |  |  |
| 40 | DPMESL3000-5248WH |  | • 3 kW + 5.12 kWh • low-frequency • 51.2 V • Specification to confirm |  |  |
| 41 | DPMESL3000-10240WH |  | • 3 kW + 10 kWh • low-frequency • 51.2 V • Specification to confirm |  |  |
| 42 | DPMESL5000-10240WH |  | • 5 kW + 10 kWh • low-frequency • 51.2 V • Specification to confirm |  |  |
| 43 | DPMESL5000-15000WH |  | • 5 kW + 15 kWh • low-frequency • 51.2 V |  |  |
| 44 | DPMESL8000-15000WH |  | • 8 kW + 15 kWh • low-frequency • 51.2 V |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

ALL IN ONE SOLAR SYSTEMS

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 45 | DPMESH3600-5248HG |  | • 3.6 kW + 5.248 kWh • high-frequency • Specification to confirm |  | 2 Years |
| 46 | DPMESH3600-8000HG |  | • 3.6 kW + 8 kWh • high-frequency • Specification to confirm |  | 2 Years |
| 47 | DPMESH6500-16000HG |  | • 6.5 kW + 16 kWh • high-frequency • Specification to confirm |  | 2 Years |
| 48 | DPMESH11000-16000HG |  | • 11 kW + 16 kWh • high-frequency • Specification to confirm |  | 2 Years |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.

# DRPOWER PRODUCT PRICE LIST 2026

Distributor price in KES

LITHIUM BATTERIES AND ENERGY STORAGE

| Item | Model | Photo | TECHNICAL KEY FEATURES | Distributor Price (KES) | Warranty |
| --- | --- | --- | --- | --- | --- |
| 49 | DPSLF512100 |  | • 5.12 kWh • 51.2 V • 100 Ah • LiFePO4 • RS485 / RS232 / CAN |  |  |
| 50 | DPSLF512200 |  | • 10.24 kWh • 51.2 V • 200 Ah • LiFePO4 • RS485 / RS232 / CAN |  |  |
| 51 | DPSLF512300 |  | • 15.36 kWh • 51.2 V • 300 Ah • LiFePO4 • RS485 / RS232 / CAN |  |  |
| 52 | DPSLFH30KWH |  | • 29.952 kWh • 288 V • 104 Ah |  |  |
| 53 | DPSLFH67KWH |  | • 67.2 kWh • 240 V • 280 Ah |  |  |
| 54 | DPSLFH128KWH |  | • 128.614 kWh • 409.6 V • 314 Ah |  |  |
| 55 | DPESS130K261KWH |  | • 130 kW + 261 kWh • three-phase |  |  |

Source: DRPOWER 2026 catalogue. Photos represent the catalogue product series.